Veno-Venous Extracorporeal Membrane Oxygenation Protocol

| Version | Date |
| --- | --- |
| Initial Version | 2011.04.28 |
| 1st Revision | 2011.06.04 |
| 2nd Revision | 2011.07.27 |
| 3rd Revision | 2011.08.10 |
| 4th Revision | 2011.11.11 |
| 5th Revision | 2013.10.05 |
| 6th Revision | 2015.12.27 |
| 7th Revision | 2018.03.16 |
| 8th Revision | 2026.04.30 |

- PATIENT SELECTION

  - General Considerations

ECMO for respiratory support should be considered in patients with acute severe failure of optimized conventional therapies with the patient remaining at high risk of death

    - An underlying cause of respiratory failure that aligns with one of the following clinical goals:

      - Bridge to recovery: a potentially reversible cause of acute respiratory failure without comorbidities that limit short-term life expectancy

      - Bridge to lung transplantation: chronic or irreversible lung disease, but the patient is eligible for lung transplantation

      - Bridge to decision: a temporary strategy used when reversibility or transplant eligibility cannot be determined at the time of ECMO initiation; this should be initiated only within the context of ongoing multidisciplinary discussion focused on decannulation options, and with a clear discussion regarding the duration of ECMO support being offered

    - Absence of contraindications to extracorporeal life support

  - Indications

Prior to consideration for ECMO, patients should receive optimized mechanical ventilation (tidal volume set at 6 mL/kg predicted body weight, trial of PEEP ≥ 10 cmH₂O, and plateau pressure ≤ 30 cmH₂O) and available adjunctive therapies (such as prone positioning and neuromuscular blocking agents) when feasible. These measures should be implemented promptly and appropriately, without delaying ECMO when indicated.

    - Hypoxemic respiratory failure

        - Refractory hypoxemia despite optimized management, defined as:

          - PaO₂/FiO₂ ratio < 50 mmHg with FiO₂ ≥ 80% for > 3 hours, or

          - PaO₂/FiO₂ ratio < 80 mmHg with FiO₂ ≥ 80% for > 6 hours

    - Hypercapnic respiratory failure

        - Uncompensated hypercapnia, defined as:

          - Arterial pH < 7.25 with PaCO₂ ≥ 60 mmHg for > 6 hours despite optimization of mechanical ventilation, including increasing respiratory rate up to 35 breaths/min, while attempting to maintain lung-protective limits

    - Severe air leak syndromes

        - Resulting in refractory respiratory failure or inability to maintain lung-protective ventilation

  - Contraindications

    - Absolute contraindication

        - Anticipated non-recovery in patients who are not eligible for lung transplantation

    - Relative contraindications

        - Conditions associated with poor outcomes despite ECMO, or pre-ECMO comorbidities that may hinder device-related access, anticoagulation, or overall management

          - Prolonged exposure to injurious mechanical ventilation, typically FiO₂ > 90% and plateau pressure > 30 cmH₂O for 7 days or more

          - Central nervous system hemorrhage that is recent or expanding

          - Active systemic bleeding or contraindications to anticoagulation

          - Severe immunosuppression, depending on etiology and anticipated reversibility

          - Presence of non-recoverable comorbidities or severe organ failure, such as severe irreversible brain injury or untreatable terminal malignancy

          - Advanced age or severe frailty

  - Process for ECMO Initiation and Vascular Access

The decision to initiate VV ECMO is made following multidisciplinary discussion, and the final decision is confirmed by at least two board-certified physicians, including one or more critical care staff physicians.

    - Contact the ECMO team for vascular access

        - Primary contact: On-call doctor for the cardiac surgery service (extension #3777)

    - Prepare for cannulation

      - Obtain informed consent using the designated consent form: 체외막형 산화기 시술 동의서

      - Preparation of equipment

        - Prepare ECMO equipment (in 03PH, C03T) and cannulation cart (in each ICU)

        - Prepare ultrasound for vascular access guidance

      - Preparation of patient

        - Order 2 units of packed red blood cells

        - Ensure adequate sedation to facilitate safe cannulation

          - Intubated patients: deep sedation ± neuromuscular blockade

          - Non-intubated patients: appropriate sedation and analgesia, prepare for possible endotracheal intubation if deterioration occurs

        - Prepare arterial catheter for continuous blood pressure monitoring

        - Prepare intravenous fluids and vasoactive agents in anticipation of hemodynamic instability

        - If a central venous catheter is present in the right internal jugular vein, relocate central venous access to an alternative site (e.g., left internal jugular vein) prior to ECMO cannulation, to avoid interference with cannula placement

- CIRCUIT MANAGEMENT

  - Console Setting

Console settings should be individualized, with attention to the following goals:

        - Optimization of oxygenation and carbon dioxide removal

        - Promotion of lung rest and minimization of ventilator-induced lung injury

        - Avoidance or minimization of ECMO-related complications

- Blood flow — main determinant of oxygenation

- Initial setting

        - Initiate blood flow gradually and increase toward the required maximum flow: generally starting at approximately 60–80 mL/kg/min, targeting at least 60% of cardiac output

        - Once arterial oxygenation is adequate, adjust ventilator settings to lung-rest parameters

        - Then reduce ECMO blood flow to the lowest level that maintains adequate systemic oxygen delivery

- Target: SaO₂ 80–90%

        - Lower arterial oxygen saturation may be acceptable in the absence of clinical signs of tissue hypoperfusion, because:

          - Oxygen saturation is only one determinant of oxygen delivery; During VV ECMO, total systemic oxygen delivery represents the sum of oxygen delivery from the ECMO circuit and the native lungs

          - Adequate systemic oxygen delivery to maintain tissue perfusion can be achieved despite lower PaO₂ or SaO₂, provided that cardiac output and hemoglobin concentration are sufficient

        - A higher arterial oxygen saturation target (e.g., > 90%) may be justified for patient comfort and safety, particularly when light or no sedation is intended

- Considerations

        - Attempts to maintain higher arterial saturation by increasing ECMO blood flow may require higher pump speeds or fluid administration. Such strategies may increase the risk of several complications, including hemolysis or fluid overload. Therefore, in the absence of signs or symptoms of tissue hypoperfusion, avoid unnecessary escalation of ECMO blood flow

- Sweep gas flow — main determinant of carbon dioxide removal

- Initial setting

        - Initiate sweep gas flow at approximately 1:1 relative to ECMO blood flow

        - Then adjust according to arterial pH and PaCO₂

- Target: Acceptable arterial pH (≥ 7.30), rather than normalization of PaCO₂

- Considerations

        - Rapid decreases in PaCO₂ are associated with neurological complications, likely due to alterations in cerebral blood flow. Therefore, hypercapnia (initial PaCO₂ > 70 mmHg) should be corrected gradually (over approximately 4–8 hours) after ECMO initiation

- FiO₂ of sweep gas

        - In our center, FiO₂ of the sweep gas is generally set to 1.0

  - Anticoagulation

Anticoagulation targets and monitoring strategies should be individualized according to patient's bleeding and thrombotic risk, at the discretion of the treating physician. In VV ECMO, a lower-intensity anticoagulation strategy is generally adopted compared with VA ECMO.

    - Unfractionated heparin (UFH)

      - Standard anticoagulant used for ECMO

      - Monitoring

        - Activated Clotting Time (ACT)

          - Target: 130–150 seconds

          - Bedside measurement; primarily used when rapid anticoagulation adjustment is required, particularly during initiation and the early post-cannulation period

        - Activated Partial Thromboplastin Time (aPTT)

          - Target: 45–55 seconds

          - Standard laboratory measurement; used for maintenance anticoagulation after stabilization

        - Anti-Factor Xa (anti-Xa) assay

          - Target: 0.3–0.7 IU/mL

          - Alternative to aPTT; provides a measure of heparin concentration in the blood

      - Dosing

        - Bolus dose

          - Administer 50–100 units/kg IV bolus at the time of cannulation

        - Continuous infusion

          - After cannulation, initiate continuous UFH infusion once the post-cannulation ACT decreases to < 200 seconds (If ACT remains ≥ 200 seconds, withhold initiation of infusion and repeat ACT 2 hours later)

          - Heparin preparation: Heparin 20,000 units (4 mL) + 5% dextrose 196 mL

          - Initial infusion rate: 7 units/kg/hr

        - Dose adjustment: Heparin nomogram

          - After initiation of continuous UFH infusion, check ACT every 2 hours

          - Once the ACT first reaches the target range, ACT monitoring may be discontinued and aPTT monitoring initiated

          - Check aPTT every 24 hours

| ACT (aPTT) | Maintenance infusion rate adjustment |
| --- | --- |
| < 130 (45) sec | Increase by 1 mL/hr (100 units/hr) |
| 130–150 (45–55) sec | No change |
| 150–180 (55–75) sec | Decrease by 1 mL/hr (100 units/hr) |
| 180–200 (75–85) sec | Decrease by 2 mL/hr (200 units/hr) |
| > 200 (85) sec | Hold infusion for 2 hours Repeat ACT every 2 hours until ACT decreases to ≤ 200 seconds. When ACT ≤ 200 sec, restart infusion at a rate 3 mL/hr (300 units/hr) lower than the previous rate. If the previous rate was < 3 mL/hr, restart at half of the previous rate. |

      - Heparin resistance

        - Definition: Requirement of unusually high doses of UFH to achieve target ACT

        - Primary mechanism: Antithrombin deficiency

        - Management

          - When target ACT is not achieved, measure anti-Xa level

→ If anti-Xa is below the target range, measure antithrombin level

→ If AT level is low, supplement antithrombin using fresh frozen plasma or antithrombin concentrates

          - UFH infusion should be reduced prior to antithrombin concentrate administration, as antithrombin supplementation may markedly potentiate the anticoagulant effect of UFH and increase bleeding risk

    - Argatroban (Direct thrombin inhibitor)

      - Use in patients with suspected or confirmed heparin-induced thrombocytopenia

      - Monitoring

        - ACT: Target 130–150 seconds

        - aPTT: Target 45–55 seconds

      - Dosing

        - When UFH is discontinued and replaced with argatroban,

          - Argatroban preparation: Argatroban 40 mg (8 mL) + 5% dextrose 192 mL

          - Initial infusion rate: 0.2 μg/kg/min

        - Dose adjustment: Argatroban nomogram

          - Check aPTT 2 hours after initiation and adjust the infusion rate accordingly

          - Once stabilized, monitor aPTT every 24 hours

| ACT (aPTT) | Maintenance infusion rate adjustment |
| --- | --- |
| < 130 (45) sec | Increase by 0.05 μg/kg/min |
| 130–150 (45–55) sec | No change |
| 150–180 (55–75) sec | Decrease by 0.05 μg/kg/min |
| 180–200 (75–85) sec | Decrease by 0.1 μg/kg/min |
| > 200 (85) sec | Hold infusion for 2 hours Repeat aPTT every 2 hours until aPTT decreases to ≤ 85 seconds. Restart infusion at half of the previous infusion rate. |

    - Adverse effect of anticoagulation

      - Bleeding

        - Management of clinically significant bleeding

          - Temporarily discontinue anticoagulation

          - Consider massive transfusion if indicated (Refer to SMC ICU massive transfusion protocol)

          - Correct coagulopathies

          - Consider administration of antifibrinolytic agents

          - Perform interventional or surgical hemostasis, when feasible

        - Reversal agent

          - Heparin: Protamine

          - Argatroban: No specific reversal agent available

          - Use of reversal agent should be determined in consultation with ECMO specialists, as it may increase the risk of circuit thrombosis

      - Heparin induced thrombocytopenia (HIT)

        - Clinical suspicion: Assess using the 4T score

        - Management

          - Check Anti-Heparin/PF4 Ab (At our institution: BL21741, HIT-IgG Ab)

          - If HIT is clinically suspected, discontinue UFH and initiate a direct thrombin inhibitor while awaiting test results (the test results take approximately 2 weeks)

| 4T score |  |  |  |
| --- | --- | --- | --- |
| Category | 2 points | 1 point | 0 points |
| Thrombocytopenia | Platelet count fall > 50% and nadir ≥ 20K | Platelet count fall 30–50%, or nadir 10–19K | Platelet count fall < 30%, or nadir < 10K |
| Timing of platelet count fall | Clear onset days 5–10 or platelet fall ≤ 1 day (prior heparin exposure within 30 days) | Consistent with days 5–10 fall, but not clear (e.g., missing platelet counts); onset after day 10; or fall ≤ 1 day (prior heparin exposure 30–100 days ago) | Platelet count ≤ 4 days without recent exposure |
| Thrombosis or other sequelae | New thrombosis (confirmed); skin necrosis; acute systemic reaction after intravenous UFH bolus | Progressive or recurrent thrombosis; non-necrotizing (erythematous) skin lesions; suspected thrombosis (not proven) | None |
| Other causes of thrombocytopenia | None apparent | Possible | Definite |
| The 4Ts score is the sum of the values for each of the 4 categories: Scores of 1–3, 4–5, and 6–8 are considered to correspond to a low, intermediate, and high probability of HIT, respectively. |  |  |  |

    - Peri-operative management

      - Discontinuation of anticoagulation

        - Discontinue UFH or argatroban infusion at least 4 hours before and 4 hours after invasive or surgical procedures

      - Re-initiation

        - If post-procedural bleeding is absent or minimal, re-initiate anticoagulation according to the nomogram, without a bolus dose

  - Emergency ECMO Complications

The following complications may rapidly compromise VV ECMO support and can lead to severe hypoxemia, hypovolemic shock, or cardiopulmonary arrest if not managed immediately. All situations require prompt recognition, clear role assignment, and immediate involvement of the ECMO team.

    - Inadvertent decannulation / Circuit rupture

      - Definition

        - Inadvertent decannulation: Partial or complete displacement of cannula

        - Circuit rupture: Disruption of any circuit component resulting in exposure of blood to atmospheric pressure

      - Consequences: Blood loss, air entrainment, abrupt loss of ECMO support

      - Management

        - Immediately call for help and contact the ECMO team

        - Circuit management

          - Clamp the circuit near the patient

          - After clamping, stop the pump to prevent further blood loss or air entrainment

          - Prepare for re-cannulation or emergency circuit exchange

        - Patient management

          - Apply firm manual pressure to the cannulation site if the cannula has been completely removed

          - Initiate rapid volume resuscitation and blood transfusion as needed

          - Establish rescue ventilation

      - Prevention

        - Secure cannulas with sutures at the time of cannulation (at least three fixation points, including the insertion site, must be secured)

        - Use additional adhesive devices to stabilize cannulas and tubing

        - Perform regular checks of cannula depth markings and inspect securing sutures for loosening or breakage

    - Circuit air

      - Definition: Air entry into the extracorporeal circuit

      - Consequences: Circuit obstruction, loss of effective ECMO support, embolic phenomenon

      - Management

        - Immediately call for help and contact the ECMO team

        - Circuit management

          - Rapidly assess the amount and location of air (pre- vs post-oxygenator)

            - If there is any concern that air may reach the patient, immediately clamp the return cannula and stop the pump

            - If there is no substantial air entry and no concern for patient embolization, circuit flow may be maintained at the lowest level tolerated to minimize air movement toward the patient while the problem is resolved. In this setting, assign one team member to continuously monitor the return cannula and be prepared to clamp immediately if air migrates toward the patient

          - Identify the exact source of air entry into the circuit

        - Patient management

          - Place the patient in a head-down (Trendelenburg) position

          - Assess hemodynamic and gas exchange status

          - Initiate fluid administration, inotropic/vasopressor support to maintain MAP, and rescue ventilation if needed

      - Prevention (Key measures)

        - Minimize access points on the negative-pressure side of the circuit

        - Exercise caution with central venous lines near the drainage cannula

        - Maintain meticulous technique when manipulating stopcocks and circuit connections

    - Pump failure / Console or power failure

      - Definition: Loss of extracorporeal blood flow due to malfunction of the pump or console, or loss of electrical power

      - Consequences: Sudden cessation of ECMO blood flow, rapid hypoxemia and hemodynamic deterioration

      - May present with: abnormal pump noise, sudden reduction in RPM, visible pump abnormalities or excessive vibration

      - Management

        - Immediately call for help and contact the ECMO team

        - Circuit management

          - If there is an apparent decrease in ECMO blood flow without accompanying clinical deterioration, first exclude flow probe malfunction

          - If pump failure is confirmed and the impeller is not spinning, immediately clamp the circuit and stop the pump

          - Commence hand cranking:

            - Set the blood pump to approximately 1000 RPM

            - Remove the clamp

            - Gradually increase RPM to the previous target settings

          - Continue hand cranking until ECMO team arrives and definitive power or console support is restored

        - Patient management

          - Establish rescue ventilation

          - Initiate fluid administration and inotropic/vasopressor support as needed

  - Common Problems During ECMO Support

    - Drainage insufficiency (variably termed chattering, chugging, shaking, or kicking)

      - Definition: Insufficient venous return relative to the negative pressure generated at the drainage cannula, resulting in reduced or unstable ECMO blood flow

      - Consequences

        - Visible or palpable movement of drainage cannula

        - Fluctuating or inadequate ECMO blood flow: Increasing pump RPM fails to produce a proportional increase in flow and may worsen chattering

        - Hypoxemia

        - Hemolysis

        - Cavitation within the pump with potential air entrainment and embolization

      - Factors affecting venous drainage

        - Reduced venous return: hypovolemia, vasodilation, inflow obstruction

        - Excessive negative drainage pressure

        - Mechanical factors: increased resistance to venous drainage (cannula malposition, kinking, undersizing, or thrombosis) and reduced vascular capacitance at the drainage site

      - Management

        - Reduce pump speed

          - First, decrease pump RPM until chattering is minimized or disappeared

          - If gas exchange and hemodynamic support remain adequate, maintain the lowest pump speed that avoids chattering

        - Evaluate and correct reversible causes

          - Assess cannula position and circuit integrity

          - Assess for causes of inflow obstruction, including:

            - Patient-related factors: agitation, coughing, or patient–ventilator asynchrony

            - Mechanical or physiologic conditions increasing intrathoracic, pericardial, or intra-abdominal pressure: tension pneumothorax, cardiac tamponade, intra-abdominal hypertension

          - Assess volume status and vasomotor tone, including: recent fluid removal, occult bleeding, sepsis or distributive shock, use of medications with vasodilatory effects (e.g., sedatives, analgesics, vasodilators)

        - Assess fluid responsiveness

          - Consider Trendelenburg positioning as a temporizing maneuver

          - Administer fluid only in volume-responsive patients

          - Avoid indiscriminate fluid loading once euvolemia is achieved

        - Persistent drainage insufficiency

          - Consider repositioning, upsizing cannula or adding an additional drainage cannula

          - While awaiting definitive cannula intervention, maintain adequate systemic oxygen delivery at lower ECMO blood flow by:

            - Reducing metabolic demand through appropriate sedation and analgesia

            - Optimizing hemoglobin concentration, including transfusion when indicated

            - Ensuring adequate hemodynamic support

    - ECMO-associated hemolysis

      - Definition: Mechanical damage to red blood cells with subsequent release of free hemoglobin into the plasma, caused by supraphysiologic shear stress during blood circulation through the extracorporeal circuit

      - Consequences: ECMO-associated hemolysis has the potential to cause injury to multiple organ systems. Clinically, commonly encountered complications include:

        - Anemia, thrombosis with subsequent consumptive thrombocytopenia

        - Acute kidney injury with or without oliguria, electrolyte imbalance, or metabolic disturbances

        - Systemic inflammatory response and increased vascular permeability

        - Reduced nitric oxide bioavailability, resulting in vasoconstriction and microcirculatory dysfunction

      - Common causes

        - Excessive negative drainage pressure: Drainage insufficiency or chattering, high pump RPM relative to venous return

        - Circuit-related factors: oxygenator thrombosis or dysfunction, high-resistance circuit components

        - Cannula-related factors: cannula malposition or kinking, undersized drainage cannula

      - Findings suggestive of hemolysis

        - Dark-colored urine or hemoglobinuria

        - Pink or red discoloration of CRRT or dialysis effluent in anuric patients

        - Laboratory abnormalities: Plasma free hemoglobin ↑ (> 50 mg/dL), lactate dehydrogenase ↑, bilirubin ↑, haptoglobin ↓, unexplained or disproportionate anemia

      - Management

        - Identify and correct the underlying cause

          - Evaluate for drainage insufficiency and reduce excessive negative pressure

          - Optimize volume status, pump speed and cannula position

          - Assess for evidence of oxygenator or circuit thrombosis

        - Contact the ECMO team and discuss the need for oxygenator or circuit exchange

        - Supportive management

          - Monitor renal function and urine output closely

          - Optimize hemoglobin concentration as clinically indicated

          - Review and adjust anticoagulation strategy based on bleeding and thrombotic risk

    - ECMO-associated thrombosis

      - Definition: Thrombus formation occurring within any part of the ECMO circuit, resulting from activation of coagulation pathways, platelet activation, and inflammatory and complement cascades following blood exposure to the extracorporeal circuit

      - Consequences

        - Increased resistance within the ECMO circuit, leading to compromised ECMO performance and ECMO-related complications, including drainage insufficiency, impaired gas exchange, hemolysis, and pump dysfunction

        - Increase the risk of thromboembolic events

      - Predisposing factors

        - Subtherapeutic anticoagulation or interruptions in anticoagulation

        - Prothrombotic patient conditions (e.g., sepsis, inflammation)

        - Treatment-related prothrombotic factors (e.g., antifibrinolytic agents)

        - Low-flow states or blood stasis

      - Management

        - Regular assessment of ECMO circuit

          - Perform careful and systematic inspection of the entire extracorporeal circuit, using a flashlight when needed

          - Thrombi typically appear as: Dark, nonmoving areas (red cell–rich clots), or white areas (platelet/fibrin thrombi)

          - Determine the size, location, and progression of thrombi

          - Evaluate associated changes in ECMO performance (ΔP, gas exchange, hemolysis)

        - Anticoagulation optimization

          - Review anticoagulation targets, recent trends, and monitoring parameters

          - Adjust anticoagulation strategy based on bleeding and thrombotic risk

        - ECMO system management

          - Small, stable thrombi: Common and do not require immediate intervention

          - Large (> 5 mm) or enlarging thrombi (particularly on the post-oxygenator side) or multiple thrombi throughout the circuit, especially when associated with ECMO performance compromise: Warrant further evaluation → Contact ECMO team to discuss the need for oxygenator or circuit exchange

        - Patient evaluation

          - Assess for patient-related thromboembolic complications when clinically suspected

    - Oxygenator dysfunction

      - Definition: Impairment of oxygenator gas transfer efficiency

      - Consequences: Reduced oxygenation and/or CO₂ removal

      - Supporting findings

        - Reduced oxygenator gas transfer: In our center, evaluation for oxygenator dysfunction is initiated when the post-oxygenator PaO₂/FiO₂ of sweep gas is ≤ 300 despite adequate sweep gas flow

        - Increasing oxygenator internal resistance: Rising pre–post membrane pressure gradient (ΔP), increasing pump RPM required to maintain target blood flow

        - Worsening hematologic profile (e.g., hemolysis, consumptive coagulopathy)

        - Visible oxygenator clot formation

      - Management

        - If the color difference between pre- and post-oxygenator blood is abruptly lost, gas supply interruption should be excluded first, as oxygenator failure typically progresses gradually.

          - Assess the sweep gas supply pathway and identify/correct disconnections, kinks, or depletion of the gas source

          - Restoration of gas supply may rapidly reverse apparent oxygenator dysfunction

        - If gas supply interruption is excluded, contact the ECMO team to evaluate the need for oxygenator or circuit exchange

        - Optimize ventilator and ECMO settings to maintain gas exchange until exchange can be performed

        - Reassess anticoagulation strategy following oxygenator or circuit exchange

- MEDICAL MANAGEMENT DURING ECMO

  - General Conditions

        - Medical management of patients receiving VV ECMO should, in principle, follow standard evidence-based intensive care practices for critically ill patients

        - As ECMO provides extracorporeal gas exchange support but does not replace comprehensive ICU care, medical management should continue to focus on treatment of the underlying disease, prevention of secondary organ dysfunction, and promotion of recovery

  - Sedation

Adequate analgesia and sedation are essential during ECMO to ensure patient comfort, prevent increases in cardiac output and cannula-related complications, and reduce oxygen consumption. Patients on ECMO are exposed to multiple sources of discomfort and pain, including large-bore cannulas, immobility, invasive monitoring, and frequent procedures; therefore, proactive and ongoing pain control should be ensured throughout ECMO support (Refer to SMC ICU protocol: Sedation and analgesia and acute management of ICU delirium)

    - First 24 hours after ECMO initiation

      - Target: RASS -2 to -1

      - Management

        - Discontinue neuromuscular blocking agents as soon as clinically feasible

        - Gradually reduce sedative agents to achieve spontaneous breathing and responsiveness to voice, if clinically appropriate, by the end of the first 48 hours

    - After 24 hours

      - Target: RASS -1 to 0

      - Management

        - If the patient is stable on ECMO, sedation should be reduced to allow daily neurologic assessment

        - Sedation should be individualized; however, deep or prolonged sedation should generally be avoided unless clearly indicated (e.g., severe hypoxemia)

  - Hemodynamics

    - Fluid balance

      - Target: Maintain the lowest central venous pressure compatible with adequate ECMO blood flow and systemic oxygen delivery

      - Management

        - First, determine the ECMO blood flow required to maintain target SaO₂

        - Once the patient and circuit are stable,

          - Begin removal of positive cumulative fluid balance within 2–3 days after ECMO initiation

          - Aim to maintain dry body weight during ongoing ECMO support

    - Cardiac failure

In patients with acute respiratory failure, acute cor pulmonale is common; therefore, careful assessment of right ventricular function and pulmonary hypertension is essential, in addition to left ventricular function

      - Screening and monitoring

        - Echocardiogram

          - Baseline echocardiographic evaluation should be performed prior to ECMO initiation

          - Follow-up examinations should be performed according to the patient's clinical course

        - N-terminal pro–brain natriuretic peptide (NT-proBNP)

          - Baseline measurement should be obtained prior to ECMO initiation

          - Follow-up measurements should be performed every 1–2 weeks or as clinically indicated

      - Treatment

        - VV ECMO does not provide direct hemodynamic support; therefore, management of cardiac failure follows standard ICU principles

        - Conversion to VA ECMO (or veno-pulmonary artery ECMO in cases of predominant right ventricular failure) may be considered in patients with ARDS complicated by refractory cardiogenic shock

    - Arrhythmias

      - Arrhythmias may compromise ECMO efficacy by causing drainage insufficiency or recirculation

      - Bradyarrhythmias

        - Apply a lower threshold for pacemaker insertion compared with non-ECMO patients in cases of persistent bradycardia or advanced atrioventricular block

      - Tachyarrhythmias

        - Consider aggressive rhythm control using pharmacologic or electrical cardioversion

        - During cardioversion, temporarily reduce ECMO circuit flow

    - Cardiac arrest

      - Perform cardiopulmonary resuscitation according to standard ACLS protocols

      - ECMO management

        - In the absence of specific contraindications, continue ECMO support without interruption

        - If access insufficiency occurs due to markedly reduced native cardiac output, consider temporary reduction of ECMO flow; however, ECMO flow should not be maintained and should be promptly stopped if air entrainment is suspected

        - Adjust ventilator settings if ECMO support alone is insufficient to maintain gas exchange

  - Mechanical Ventilation

The primary goal of mechanical ventilation during VV ECMO is to provide lung rest and minimize ventilator-induced lung injury to facilitate native lung recovery, unless VV ECMO is being used as a bridge to lung transplantation, while ensuring adequate lung recruitment and patient comfort

    - Mechanical ventilation settings

Apply lung-protective ventilation strategies (e.g., tidal volume ≤ 6 mL/kg predicted body weight, plateau airway pressure ≤ 25 cmH₂O)

      - First 24 hours after ECMO initiation

        - In general, CO₂ removal via ECMO is achieved more easily than oxygenation. Therefore, ventilator settings should be adjusted stepwise with priority given to lung rest:

          - Adjust sweep gas flow to facilitate CO₂ removal, allowing early reduction of tidal volume and respiratory rate

          - Adjust ECMO blood flow to support oxygenation, enabling gradual reduction of mechanical ventilator FiO₂

          - Apply optimal PEEP according to lung mechanics and the patient's clinical condition

        - Example (commonly used initial rest settings):

          - Pressure-controlled ventilation with respiratory rate 10–12 breaths/min, PEEP ~10 cmH₂O, Peak inspiratory pressure ~20 cmH₂O, and FiO₂ ≤ 0.30

      - After 24 hours

        - If the patient is hemodynamically and respiratory stable and tolerates the endotracheal tube:

          - Gradually reduce sedation

          - Transition toward spontaneous breathing, typically using a pressure support mode

        - Avoid excessive spontaneous effort that may increase transpulmonary pressure and risk of patient self-inflicted lung injury

    - Ventilator-associated pneumonia (VAP) prevention

        - Apply the VAP prevention bundle (Refer to SMC ICU protocol: Prevention of ventilator-associated pneumonia)

    - Endotracheal extubation

      - Awake ECMO

        - Definition: Awake ECMO refers to the provision of ECMO support while the patient is awake and breathing spontaneously, without mechanical ventilation or deep sedation

        - Rationale: This strategy may avoid the detrimental effects of mechanical ventilation, reduce sedation-related complications, facilitate early mobilization and rehabilitation, and potentially provide an opportunity for native lung recovery

        - Clinical implication: Awake ECMO should be considered in patients who have achieved hemodynamic and respiratory stability during VV ECMO

      - Assessing readiness for extubation

        - Hemodynamically and respiratory stable and suitable for reduction of invasive respiratory support

        - Awake and cooperative enough to protect the airway, with low risk of cannula or device dislodgement and without the need for heavy or frequent analgesia-sedation

        - Able to manage airway secretions without an artificial airway

      - Gas exchange criteria for extubation

        - Acceptable arterial blood gas on minimal ventilator settings

          - PaO₂ > 80 mmHg on MV FiO₂ 0.4 and sweep gas FiO₂ 1.0

          - pH > 7.35 with minute ventilation < 10 L/min while receiving a sweep gas flow < 6 L/min

        - Extra caution is required when gas exchange is highly PEEP-dependent, such as in congestive heart failure or morbid obesity

      - Extubation steps

        - Ensure NPO status prior to extubation

        - Perform chest physiotherapy and airway suctioning

        - Prepare post-extubation oxygen support: high-flow nasal cannula, non-invasive positive pressure ventilation, if indicated

        - Prepare airway equipment in case of extubation failure

        - Proceed with extubation

        - Continue chest physiotherapy post-extubation as needed

        - Check arterial blood gas after extubation and adjust sweep gas flow accordingly

    - Tracheostomy

      - Clinical considerations

        - Awake or minimally sedated ECMO is desired but endotracheal extubation is not yet feasible, including the following situations:

          - Inability to manage airway secretions without an artificial airway

          - Agitation or poor cooperation with a high risk of cannula or device dislodgement

          - Ongoing need for heavy or frequent analgesia–sedation

      - Timing

        - Early tracheostomy may be considered when it is expected to facilitate transition toward awake ECMO

        - Prior to tracheostomy, ECMO support should be optimized as much as possible to minimize ventilatory demands and procedural risk

  - Abdomen and GI System

    - Stress ulcer prophylaxis

        - All patients should receive stress ulcer prophylaxis (Refer to SMC ICU protocol: Stress ulcer prophylaxis in ICU)

    - Nutrition

        - Enteral nutrition is generally well tolerated in patients receiving ECMO. Therefore, nutritional support should follow the same principles applied to other critically ill patients (Refer to SMC ICU protocol: ICU nutrition protocol)

    - Constipation

        - Constipation is one of the most prevalent digestive complications.

        - Reduce correctable contributing factors, such as analgosedation, immobilization, hemodynamic instability. Consider regular use of laxatives as clinically indicated

    - Intra-abdominal pressure

        - Increased intra-abdominal pressure can compromise the ECMO blood flow (particularly in femoro-femoral configuration)

  - Renal Replacement Therapy

    - Circuit connection

        - No additional vascular catheter is required for RRT: The CRRT device can be directly connected to the ECMO circuit by specially trained nursing staff according to institutional practices

    - Anticoagulation

        - Additional anticoagulation for CRRT is generally not required in patients already receiving systemic anticoagulation for ECMO

        - In patients in whom systemic anticoagulation cannot be maintained due to bleeding:

          - Consider regional anticoagulation (e.g., nafamostat), or

          - CRRT without anticoagulation, depending on bleeding risk and filter lifespan

  - Hematology

    - Transfusion

      - Packed red blood cells

        - Transfuse for hemoglobin < 7.0 g/dL in non-bleeding, euvolemic patients (except in cases of refractory hypoxemia, shock, or acute coronary syndrome)

        - Leukocyte-depleted RBCs are recommended

        - Suggested dosing:

          - Hb 6.0–6.9 g/dL: 1 unit pRBC

          - Hb 5.0–5.9 g/dL: 2 units pRBCs

      - Platelets

        - Transfuse for platelet count < 20,000/μL in non-bleeding patients

        - Transfuse for platelet count < 50,000/μL in bleeding patients or prior to invasive procedures

        - Standard dose: 6 units

      - Fresh Frozen Plasma

        - Routine transfusion is not indicated in non-bleeding patients

        - Standard dose: 2–6 units

      - Cryoprecipitate

        - Routine transfusion is not indicated in non-bleeding patients

        - Transfuse for fibrinogen < 100 mg/dL in bleeding patients or prior to invasive procedures

        - Standard dose: 10 units

    - Particular hematologic conditions during ECMO

      - Heparin-induced thrombocytopenia

      - Acquired Von Willebrand disease

        - Cause: High shear stress generated by centrifugal pumps

        - Effect: The association with clinically relevant bleeding remains unclear

        - Management: Management should be individualized based on bleeding risk and clinical context. The role of targeted therapy (e.g., factor replacement or desmopressin) is not well established.

  - Rehabilitation and Mobilization During VV ECMO

    - General principles

        - Rehabilitation should be initiated in all patients receiving VV ECMO, as early as clinically feasible

        - At a minimum, passive in-bed exercise should be provided, with progression to active mobilization based on patient stability and safety

    - Prerequisites for active mobilization

        - Active mobilization may be considered when all of the following are met:

          - Hemodynamic and respiratory stability

          - Secure cannula position and stable ECMO circuit

          - Adequate level of consciousness and ability to follow commands

    - Monitoring and stop criteria

        - Patient safety and ECMO circuit integrity take priority over mobilization goals

        - Vital signs, ECMO parameters, and cannula stability should be continuously monitored during rehabilitation

        - Rehabilitation should be stopped immediately if patient instability or circuit-related concerns occur

- HYPOXEMIA DURING VV ECMO

  - Factors Associated with Hypoxemia

Hypoxemia during VV ECMO may result from one or more of the following categories:

    - Patient-related factors

      - Increased cardiac output

      - Increased oxygen consumption: fever, agitation, shivering, sepsis, etc.

      - Worsening native lung function

      - Reduced oxygen-carrying capacity: anemia, shock, etc.

    - Circuit-related factors

      - Insufficient ECMO blood flow or drainage insufficiency

      - Recirculation

      - Oxygenator dysfunction

      - Gas tubing leak, disconnection, or decreased sweep gas FiO₂

  - Hypoxemia Following Initiation of VV ECMO (Early Phase)

    - Clinical context

        - In the early phase after VV ECMO initiation, optimal ECMO settings to provide adequate systemic oxygen delivery are often not yet fully established

        - Hypoxemia shortly after ECMO initiation most commonly reflects:

          - Insufficient extracorporeal support relative to cardiac output

          - Recirculation due to cannula configuration or positioning

    - Stepwise approach

      - Assess whether ECMO blood flow is sufficient

        - Temporarily increase ECMO blood flow to evaluate whether the target SaO₂ can be achieved

      - Assess pre-oxygenator venous saturation

        - Intermediate to high pre-oxygenator SaO₂

→ Suggests a higher likelihood of recirculation

        - Low to intermediate pre-oxygenator SaO₂

→ Suggests that ECMO blood flow remains insufficient relative to cardiac output despite prior flow escalation, and/or increased VO₂

→ Consider further increase in ECMO blood flow to assess response

    - Management

      - If insufficient ECMO support and/or high VO₂ is suspected

        - Patient management

          - Identify potentially correctable contributors

          - Optimize oxygen demand: Adequate sedation, analgesia, temperature control...

          - Optimize hemoglobin concentration as clinically indicated

        - Cannula management

          - If higher ECMO blood flow is persistently required to maintain adequate oxygen delivery and drainage insufficiency is present, exclude hypovolemia first; then consider cannula upsizing or additional cannulation

      - If recirculation is suspected

        - Recirculation refers to withdrawal of oxygenated blood delivered by the return cannula back into the drainage cannula without passing through the systemic circulation, thereby reducing the effective oxygen delivery of VV ECMO

        - Contributing factors:

          - Patient: changes in intra-thoracic, intra-cardiac, and intra-abdominal pressures

          - Circuit: cannula configuration, size and position, pump speed and ECMO blood flow

        - Clues suggesting recirculation

          - Similar bright-colored blood in both drainage and return cannulas

          - Increasing ECMO blood flow fails to improve arterial oxygenation and may worsen hypoxemia

          - Increasing pre-oxygenator venous oxygen saturation with decreasing arterial SaO₂

          - Calculation using SvO₂ (in selected cases)

: Recirculation (%) = (SpreO₂ – SvO₂) / (SpostO₂ – SvO₂) × 100

          - Ultrasound dilution measurement using the ELSA system: Recirculation ≥ 30–40% is generally considered indicative of significant recirculation

        - Management

          - Reposition cannulas to increase the distance between drainage and return cannulas

          - Avoid unnecessarily high ECMO blood flow; the effective flow is the flow that delivers the greatest oxygen delivery at the lowest pump speed

          - If higher ECMO blood flow is required to maintain adequate oxygen delivery, consider insertion of an additional drainage cannula or use of a larger cannula to allow adequate support at lower pump speeds

          - Minimize factors that increase intrathoracic or intra-abdominal pressure variation

    - Approach to failure to achieve a desired SaO2 target post-ECMO initiation

  - Hypoxemia After Being Stable on VV ECMO (Maintenance Phase)

    - Clinical context

        - Unexpected hypoxemia occurring after initial stabilization on VV ECMO usually reflects a newly developed problem, rather than inadequate initial ECMO support

        - This situation should prompt a focused evaluation of what has changed in the patient or the ECMO system

    - Common causes

        - Unexpected hypoxemia during the maintenance phase is most commonly associated with:

          - Recent decreases or changes in ECMO or ventilator settings

          - Drainage insufficiency

          - Oxygenator dysfunction

          - Increased cardiac output or oxygen consumption

          - Worsening native lung function

    - Stepwise evaluation

      - Assess drainage adequacy (Refer II-4-(1). Drainage insufficiency)

      - Review recent ECMO and ventilator setting changes

      - Assess oxygenator function (Refer II-4-(4). Oxygenator dysfunction)

        - Inspect color difference between pre- and post-oxygenator blood

        - Evaluate post-oxygenator gas exchange performance and/or trans-membrane pressure gradient (ΔP)

      - Assess patient-related contributors

        - Increased cardiac output

        - Worsening native lung pathology

        - Decreased SvO₂

    - Approach to desaturation after being stable on VV ECMO

- MONITORING DURING ECMO

Monitoring during ECMO should focus not only on absolute values, but also on trends that may indicate evolving circuit-related or patient-related complications. Continuous reassessment is essential to detect early signs of ECMO dysfunction, organ injury, or treatment-related adverse events.

  - Routine Investigations

    - Immediately after ECMO initiation

      - Circuit

        - Pre- and post-oxygenator arterial blood gas analysis

      - Patient

        - Arterial blood gas and lactate

        - ACT/aPTT

        - Chest X-ray and KUB: check cannula position

    - Daily monitoring

      - Circuit: Pre- and post-oxygenator arterial blood gas analysis

      - Patient:

        - CBC, ACT/aPTT (refer to section II-2. Anticoagulation), PT(INR), fibrinogen

        - Fasting blood sugar, total bilirubin, AST, ALT, BUN, Cr, Na, K, Cl, Ca, P, Mg, LDH

        - Arterial blood gas, lactate

        - Chest X-ray

    - Periodic monitoring

        - Monday and Thursday: CRP, total protein, albumin

        - Tuesday and Friday: plasma free hemoglobin, antithrombin III

        - Wednesday: Anti-factor Xa

        - Once or twice a week: Respiratory cultures (sputum or TTA)

        - Every 1–2 weeks: NT-proBNP

    - As clinically indicated (PRN)

        - CK-MB, troponin I, echocardiogram

        - Additional cultures or imaging studies based on clinical suspicion

  - Daily Checklist: Circuit

| Circuit setting | Console | RPM: / Pump blood flow: |
| --- | --- | --- |
|  | Gas flow | Sweep gas flow: / FiO₂: |
| Anticoagulation | Anticoagulant |  |
|  | Adequacy of anticoagulation |  |
| Cannula | Cannula site problem |  |
|  | Change of position | In X-ray: / Skin marking: |
|  | Drainage insufficiency |  |
| Oxygenator | Gas exchange efficiency | Color of blood in access and return cannulae: Oxygenator PaO₂/FiO₂ ratio: |
| Hemolysis | Clinical sign | Urine color: |
|  | Laboratory findings | Plasma free Hb, bilirubin, LDH: |
| Heat exchanger | Use of heater |  |

  - Daily Checklist: Patient

| CNS | Agitation-sedation | RASS: (target: ) Sedatives: |
| --- | --- | --- |
|  | Delirium |  |
|  | Neurologic abnormalities |  |
| Cardiovascular | Fluid balance | Target: |
|  | Need of inotrope/vasopressor |  |
|  | Presence of cardiac failure |  |
|  | Presence of arrhythmia |  |
|  | Vascular access | Arterial catheter: Central venous catheter: |
| Respiratory | Artificial airway |  |
|  | Mechanical ventilation | Setting: |
|  | CXR |  |
|  | ABG |  |
| Liver | Jaundice |  |
| GI | Ulcer prophylaxis |  |
|  | Nutrition | Target: Route: |
|  | Bowel movement |  |
| Renal | Urine output |  |
|  | RRT |  |
| Endocrine | Glycemic control | Target: |
|  | Use of systemic steroid |  |
| Hematology | Need of transfusion |  |
|  | Bleeding |  |
|  | Thromboembolism |  |
| Infection | Infection site |  |
|  | Documented microorganism |  |
|  | Antibiotics |  |

- WEANING FROM ECMO

  - Trial Off (Sweep Gas Off Trial)

    - Indications

A trial off may be considered when all of the following conditions are met:

      - Evidence of pulmonary recovery, demonstrated by improvement in lung mechanics and gas exchange

      - Minimal extracorporeal gas exchange requirement, defined as sweep gas flow ≤ 1 L/min, regardless of ECMO blood flow

      - Stabilization of factors negatively affecting respiratory function, such as infection, sepsis, or other organ failure

    - Steps of trial off

      - Prepare respiratory support appropriate for the absence of ECMO gas exchange

        - If the patient does not have an artificial airway, apply high-flow nasal cannula (HFNC)

        - If the patient has an artificial airway but is not receiving mechanical ventilation, initiate mechanical ventilation with lung-protective settings

      - Optimize respiratory support prior to sweep gas off

        - Set HFNC or ventilator parameters that are considered acceptable in the absence of ECMO support

        - Because oxygenation provided by ECMO is lost abruptly after sweep gas discontinuation, temporarily increase the FiO₂ above the patient's usual baseline immediately before and after sweep gas off, to mitigate early hypoxemia

      - Discontinue sweep gas flow

        - Turn off ECMO sweep gas flow and clamp the gas tubing: oxygen may leak around the flowmeter if not clamped

        - ECMO blood flow does not need to be reduced: With sweep gas off, blood flow does not contribute to gas exchange

        - Systemic anticoagulation should be continued until decannulation

      - Closely monitored for signs of weaning failure

        - Generally monitor for up to 2 hours after sweep gas off

        - Obtain arterial blood gas analysis every 30 minutes during the trial off

        - Findings suggestive of weaning failure:

          - Respiratory distress

          - Hemodynamic instability

          - Inadequate gas exchange: PaO₂/FiO₂ ratio < 100 mmHg or pH < 7.3 mmHg

          - Rising serum lactate

      - Decision for decannulation

        - If no signs of weaning failure are observed under acceptable ventilator settings (generally, FiO₂ < 0.6, Peak inspiratory pressure < 30 cmH₂O), discuss with the ECMO team regarding decannulation

        - If trial off fails, reinstate sweep gas at the previous effective setting and reassess readiness after further pulmonary recovery.

  - Decannulation

        - Discontinue systemic anticoagulation for 30–60 minutes prior to decannulation, unless contraindicated

        - Prepare 1 unit of packed red blood cells. Consider autotransfusion of blood remaining in the ECMO circuit in selected patients

        - Perform ECMO cannula tip culture if clinically indicated

  - Post-Decannulation Management

    - Immediately after decannulation

        - Apply firm local pressure for at least 30 minutes

        - Regularly inspect the cannulation site for bleeding or hematoma formation

        - If abrupt hemodynamic or respiratory deterioration occurs immediately after decannulation, systemic air embolism should be promptly excluded

    - Post-decannulation Systemic Inflammatory Response Syndrome (SIRS)

        - SIRS causing fever, leukocytosis, and vasodilation leading to tachycardia or vasopressor use is common within 24–48 hours after decannulation

        - Routine prophylactic antibiotics are not recommended

        - Perform infectious workup only when clinically indicated

    - Venous thromboembolism

        - Cannula-associated DVT is very common after VV ECMO decannulation

        - Perform routine Doppler ultrasonography of cannulated vessels for all patients

          - Timing: 24 hours after decannulation

          - Consider broader venous evaluation based on clinical suspicion

  - Stopping ECMO Support for Futility

        - The possibility of stopping ECMO for futility should be explained to the family before ECMO initiation whenever possible

        - ECMO support should be reconsidered and may be discontinued when there is no reasonable expectation of meaningful survival or a viable bridge to organ recovery or transplantation

        - Decisions regarding discontinuation should be made through shared decision-making with the patient (when possible) and the patient's surrogate or family, in accordance with institutional policy and ethical standards

- References

  - Extracorporeal Life Support Organization (ELSO) Guidelines

        - ELSO Guidelines General v1.4 (Last updated: August 2017)

        - Management of Adult Patients Supported with Venovenous Extracorporeal Membrane Oxygenation (VV ECMO): Guideline from the Extracorporeal Life Support Organization (ELSO). ASAIO J. 2021;67(6):601-610.

        - ELSO Guidelines for Adult and Pediatric Extracorporeal Membrane Oxygenation Circuits. ASAIO J. 2022;68(2):133-152.

        - Identification and management of recirculation in venovenous ECMO (Last updated: May 2015)

        - Endotracheal extubation in patients with respiratory failure receiving venovenous ECMO (Last updated: May 2015)

        - ELSO Adult and Pediatric Anticoagulation Guidelines. ASAIO J. 2022;68(3):303-310.

        - Extracorporeal Life Support Organization 2024 Guideline for Early Rehabilitation or Mobilization of Adult Patients on Extracorporeal Membrane Oxygenation. ASAIO J. 2025;71(3):187-199.

  - Textbooks and Reference Manuals

        - Extracorporeal Life Support: The ELSO Red Book. 6th ed: Extracorporeal Life Support Organization, 2022.

  - Key Clinical Trials and Observational Studies

        - Peek GJ, Mugford M, Tiruvoipati R et al. Efficacy and economic assessment of conventional ventilatory support versus extracorporeal membrane oxygenation for severe adult respiratory failure (CESAR): a multicentre randomised controlled trial. Lancet (London, England) 2009;374:1351-63.

        - Davies A, Jones D, Bailey M et al. Extracorporeal Membrane Oxygenation for 2009 Influenza A(H1N1) Acute Respiratory Distress Syndrome. JAMA. 2009;302(17):1888-95

        - Noah MA, Peek GJ, Finney SJ et al. Referral to an extracorporeal membrane oxygenation center and mortality among patients with severe 2009 influenza A(H1N1). JAMA. 2011;306(15):1659-68.

        - Pham T, Combes A, Roze H et al. Extracorporeal membrane oxygenation for pandemic influenza A(H1N1)-induced acute respiratory distress syndrome: a cohort study and propensity-matched analysis. Am J Respir Crit Care Med 2013;187:276-85.

        - Combes A, Hajage D, Capellier G, et al.; EOLIA Trial Group, REVA, and ECMONet. Extracorporeal Membrane Oxygenation for Severe Acute Respiratory Distress Syndrome. N Engl J Med. 2018;378(21):1965-1975.

  - Review Articles

        - Akoumianaki E, Jonkman A, Sklar MC, Georgopoulos D, Brochard L. A rational approach on the use of extracorporeal membrane oxygenation in severe hypoxemia: advanced technology is not a panacea. Ann Intensive Care. 2021;11(1):107.

        - Combes A, Supady A, Abrams D, et al. Extracorporeal life support for adult patients with ARDS. Intensive Care Med. 2025;51(9):1674-1686.

        - Patel B, Arcaro M, Chatterjee S. Bedside troubleshooting during venovenous extracorporeal membrane oxygenation (ECMO). J Thorac Dis. 2019;11(Suppl 14):S1698-S1707.

        - Zakhary B, Vercaemst L, Mason P et al. How I manage drainage insufficiency on extracorporeal membrane oxygenation. Crit Care. 2020;24(1):151.

        - Messai E, Bouguerra A, Guarracino F et al. Low Blood Arterial Oxygenation During Venovenous Extracorporeal Membrane Oxygenation: Proposal for a Rational Algorithm-Based Management. J Intensive Care Med 2016;31:553-60.

        - Tay CK, Sung K, Cho YH. Clinical Pearls in Venovenous Extracorporeal Life Support for Adult Respiratory Failure. ASAIO J. 2018;64(1):1-9

        - Assouline B, Combes A, Schmidt M. Setting and Monitoring of Mechanical Ventilation During Venovenous ECMO. Crit Care. 2023;27(1):95.

        - Langer T, Santini A, Bottino N et al. "Awake" extracorporeal membrane oxygenation (ECMO): pathophysiology, technical considerations, and clinical pioneering. Crit Care. 2016;20(1):150.